## Slide 1: CE 3372 Water Systems Design
Lesson 20: DUAL Drainage system fall 2020

## Slide 2: DUAL DRAINAGE CONCEPT
Simulating surface and sub-surface (sewer) flow
  “Two” drainage networks connecting to same outfall.
  Occupy same physical space

## Slide 3: DUAL DRAINAGE CONCEPT
Cross sections
Storm Sewer Pipe
Street Cross Section: Street is a “conduit” in our hydraulics model

## Slide 4: DUAL DRAINAGE CONCEPT
Nodes (Inlets)
Invert elevation
Offset

## Slide 5: Goodwin street example (Continued)
Add to our SWMM model a surface drainage system
  Using simplistic cross sectional geometry
  Add street section along Goodwin

## Slide 6: Goodwin street CROSS SECTION
Glass wall
Sidewalk
Street
Use IRREGULAR cross section

## Slide 7: Goodwin street Dual drainage
Run simulation
Profiles
  Manual to get the surface flow
Invert elevations same both drawings
Upper elevations (green lines) are same both drawings
HGL is dark blue line both drawings
Surface drainage system
Sewer drainage system