## Slide 1: CE 3372 Water Systems Design
pipeline HYDRAULICS examples : Part 1

## Slide 2: Example 1: Using on-line tools
Repeat the flow between two reserviors, but change materials, include entrance and exit losses
concrete
Kin = ?
Kexit = ?

## Slide 3: Example:
Determine roughness height for pipeline; ks = 1.0mm

## Slide 4: Example:
Convert millimeters to feet, ks = 0.00328 ft

## Slide 5: Example:
Water Properties

## Slide 6: Example:
Minor Loss Coefficients
Kin = 0.5
Kexit = 1.0

## Slide 7: Example:
Collect the various pieces of information:
Apply the JupyterLab tool, or online tool.
Concrete:
Kin = 0.5
Kexit = 1.0
ks = 0.00328 ft
Kinematic Viscosity = 1.41e-05 (ft^2/s)

## Slide 8: Example:
Online tool:

## Slide 9: Example:
JupyterLab Notebook:
  Nearly same result, Notebook did not account for entrance and exit losses