## Slide 1: CE 3372 Water Systems Design
DRINKING WATER storage Part 3 (FALL 2020)

## Slide 2: STORAGE IN COMPUTER MODELS
Storage elements in computer models are tanks or reservoirs (EPANET), or storage junctions (SWMM)
Have similar minimal data requirements that include:
  Invert (bottom) elevation
  Min Pool elevation (above the invert)
  Begin Pool elevation (above the invert)
  Max Pool elevation (above the invert)
  Tank dimensions (or depth-storage curve)

## Slide 3: Tank DESCRIPTIONS
Supply reservoir (or tank); identify reservoir pool elevation
  May need to make configuration assumptions
  Tank dimensions should be sensible
  Pipe length is given (or assumed based on min level and connecting node elevation)
Z=180 ft
Z=315 ft
Z=300 ft
L2=120 ft
L1=180 ft
Elevation
Max Level
Min Level
Diameter
Node 2
Pipe 8: L1 + L2 = 300 ft
Notes: Globe is most used.

## Slide 4: Tank DESCRIPTIONS
Supply reservoir (or tank); identify reservoir pool elevation
  Can also use a volume vs. depth table to convey tank storage capabilities -- quite similar to reservoir routing in hydrology
Z=180 ft
Z=315 ft
Z=300 ft
L2=120 ft
L1=180 ft
Elevation
Max Level
Min Level
Diameter
Node 2
Pipe 8: L1 + L2 = 300 ft
Notes: Globe is most used.